## Slide 1
Hydrostatic Drivetrain Efficiency
Company Proprietary
Aachen simulation results (validated against test stand)
Peak efficiency of hydraulic components is 86%
Induction generator efficiency is ~ 95%
Peak system efficiency is nominally 82%
Off peak is as low as 32%

## Slide 2
Hydrostatic Drivetrain Efficiency
Company Proprietary
CBM 4000 Efficiency
500 kw Nominal ~ Operating Point

## Slide 3
Hydrostatic Drivetrain Efficiency
Company Proprietary
A4 Motor Efficiency

## Slide 4
Published Eff. Values
VG 68 - Current Life Calcs
Hagglunds Recommended
35 Cst in Pump
45 Cst in Pump
65 Cst in Pump
Estimated Oil Temperature