## Slide 1
Henry Swales
Ole Kils
THE AQUANTIS OCEAN-CURRENT TURBINE
RENEWABLE ENERGY FROM MARINE CURRENTS
Passive Depth Control & Pitch Stability
April 4th, 2013
Company Confidential and Proprietary

## Slide 2: DCAB Analysis – 3/21/2013
Indicates higher than nominal shear magnitudes are required for good regulation of speed through the rotors.
Varying pitch and rake of the rotors has a limited impact on PDC performance for current configuration.
Chart: Flow Speeds at Various Shear Magnitudes
| 1.4 | 1.6 | 1.8 | 2.1 | 2.4
-0.002 | 1.3198 | 1.5362 | 1.7465 | 2.097 | 2.5298
0.000 | 1.3746 | 1.5819 | 1.7892 | 2.0909 | 2.3957
0.002 | 1.4173 | 1.6185 | 1.7953 | 2.0147 | 2.2342
0.004 | 1.4508 | 1.6246 | 1.7526 | 1.908 | 2.0665
0.006 | 1.463 | 1.5911 | 1.6794 | 1.7922 | 1.908
0.008 | 1.4417 | 1.527 | 1.5911 | 1.6734 | 1.7587

## Slide 3
Engaging V-BAR to further characterize the vertical shear in the Florida Current though histogram analysis
Resource

## Slide 4: Configuration Options for Improved PDC
Forced Pitch
  Zero lift transverse structure (truss)
  Mooring bridle or sting
Free Pitch
  Zero lift transverse structure (truss)
  Unconstrained pitch – instability concerns
Transverse Structural Wing
  Large enough to overcome rotor lit at small AoA
  Likely require upwind rotors due to increased wake
Independent Wing
  Supported independently from vertical mooring
  Moves wake away from rotors
  De-couples pitch of platform and wing

## Slide 5: No Wing, Rotor Thrust Vectoring by Mooring Angle
2 Mooring Scenarios:
  1000m, 16.0deg top angle
  500m, 33.4deg top angle
Mooring line length reduction required increased buoyancy at 1.6m/s
  Little/no change in speed through rotors
    pitch angle response is greater due to increased mooring angle change, resulting in platform diving to same depth and speed
Sting length improves effectiveness of pitch articulation with mooring angle change, but with diminishing return
Moving Front Mooring below this sting line improves pitch response, but requires one or both of the following to react pitch moment and corresponding vert rotor force at 1.6m/s
  Additional buoyancy and/or move CB aft.
    reduces effectiveness somewhat and requires tail cone
  Move vertical mooring line forward and bridle as needed
    requires sting and/or buoyancy change/shift
Mooring Adjustment
Chart: Nacelle Length Dim. (m)
| 6.9320000000000004
CG - Both Nacelles | -0.165
CB - Both Nacelles | -0.018
Front Mooring Line | -2
Vertical Mooring Line | -2
Rotor Thrust & Moments | 0
Wing Force | 2.749
Nacelle Top | 2 | 2
Nacelle Bottom | -2 | -2
Nacelle Tail | 2 | -2
Nacelle Nose | 2 | -2

## Slide 6: Bridled Front Mooring
By vertically bridling the front mooring line and fixing platform pitch to mooring line angle, the rotor thrust vectoring counters the changing direction of the mooring line tension.
  Equivalent to very long sting
  Requires very still mooring bridle
Engaging PCCI to investigate feasibility bridled moorings
  Stability, creep, redundancy, etc.

## Slide 7
Chart: Speed at 70m (m/s)
| 1.4 | 1.6 | 1.8 | 2.1 | 2.4
DCAB Hub Depth Flow Speed | 1.4508 | 1.6246 | 1.7526 | 1.908 | 2.0665
AQ Hub Depth Flow Speed | 1.4 | 1.6 | 1.8 | 2.04 | 2.17
DCAB Pitch | -3.713 | -2.373 | -1.66 | -1.011 | -0.521
AQ Pitch | -7.32 | -4.58
Chart: Flow Speed at 70m (m/s)
| 0.1 | 0.4 | 0.8 | 1.4 | 1.5 | 1.6 | 1.7 | 2.1 | 2.4
Speed at Hub Depth(m/s) | 0.1 | 0.4 | 0.8 | 1.4 | 1.5 | 1.6 | 1.59 | 1.63 | 1.71
Pitch(deg) | -2.43 | 1.8 | 4.06 | 4.47 | 4.45 | 2.96 | 5.41 | 10.47 | 12.11
Hub Depth (m) | 75 | 75 | 75 | 75 | 75 | 75 | 102.2 | 193.5 | 248.5

## Slide 8: Curtailment Dilemma
If rotor speed is reduced to reduce power output, thrust is reduced, and the C-Plane rises to higher flow speeds.
  May make curtailment ineffective.
  This is stall regulation.
If rotor speed is increased to reduce power output, thrust is increased, and the C-Plane dives to lower flow speeds.
  Blade loads may increase above design constraints.
  Operating on the dangerous side of the Cp curve (ie. loads get worse before they get better during shutdown). Serious no-go for wind turbines.
Other options? Shutdown portion of turbines in a park, etc?
Chart: Rotor Performance at 1.6m/s
| 15.824791244754337 | 15.329990401813944 | 14.835189558873552 | 14.340388715933159 | 13.845587872992763 | 13.352259651608742 | 12.857458808668351 | 12.362657965727958 | 11.867857122787564 | 11.373056279847173 | 10.879728058463151 | 10.38492721552276 | 9.8901263725823672 | 9.3953255296419744 | 8.9005246867015817 | 8.4071964653175595 | 7.9123956223771685 | 7.4175947794367758 | 6.9227939364963813 | 6.4279930935559912 | 5.934664872171969 | 5.4398640292315754 | 4.9450631862911836 | 4.4502623433507909 | 3.9554615004103981 | 3.4621332790263768 | 2.9673324360859845 | 2.4725315931455918 | 1.9777307502051991 | 1.4829299072648066 | 0.9896016858807849 | 0.49480084294039245
Thrust | 2591.867 | 2536.529 | 2481.019 | 2425.491 | 2369.729 | 2313.567 | 2257.281 | 2200.797 | 2144.182 | 2087.069 | 2029.33 | 1971.016 | 1912.747 | 1854.715 | 1795.613 | 1732.194 | 1663.078 | 1582.618 | 1496.173 | 1405.35 | 1309.766 | 1206.532 | 1092.899 | 943.722 | 776.123 | 599.589 | 433.237 | 306.94 | 216.583 | 159.333 | 126.494 | 111.347
Power | -266.299 | -88.072 | 79.752 | 237.412 | 383.833 | 518.722 | 643.734 | 758.821 | 864.914 | 963.397 | 1054.704 | 1139.253 | 1216.455 | 1287.679 | 1350.991 | 1400.038 | 1433.491 | 1440.129 | 1428.196 | 1400.233 | 1356.902 | 1295.71 | 1214.719 | 1080.586 | 896.536 | 672.942 | 448.481 | 268.841 | 141.298 | 63.704 | 22.743 | 5.459