## Comp Table
Slow Tuning
| Rated Power (kW) | 182.6183
| Annual Energy (MWh/yr) | 481.25
| Average Power (kW) | 54.9372
| Capacity Factor | 30.08%
MPC
| Rated Power (kW) | 449.1559
| Annual Energy (MWh/yr) | 1180.1726
| Average Power (kW) | 134.7229
| Capacity Factor | 29.99%
Relative Improvement |  | 245.2%

## MPC Heaving Buoy
Rated Power |  | 449.1559 | kW
Annual Energy |  | 1180.1726 | MWh/yr
Avg. Power |  | 134.7229 | kW
Capacity Factor |  | 29.99%
Unconstrained Performance Matrix
Energy Period - Te (s), center of bin
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
Hm0 (m), center of bin | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4207 | 10.904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.75 | 0 | 0 | 0 | 0 | 5.3558 | 13.2638 | 26.5002 | 36.52 | 41.5812 | 43.9294 | 45.0192 | 45.251 | 45.1453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.25 | 0 | 0 | 0 | 0 | 15.7521 | 37.2893 | 56.4405 | 68.6839 | 75.2929 | 77.7684 | 79.1127 | 78.6688 | 77.9138 | 77.1812 | 76.1576 | 73.8788 | 0 | 0 | 0 | 0 | 0
| 1.75 | 0 | 0 | 0 | 0 | 0 | 63.6957 | 88.8199 | 102.6592 | 110.3113 | 112.7189 | 114.2048 | 113.2194 | 111.6198 | 110.1928 | 108.3326 | 104.8766 | 0 | 0 | 0 | 0 | 0
| 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 122.0499 | 137.9402 | 146.1352 | 148.3326 | 149.8993 | 148.4149 | 145.8356 | 143.6254 | 141.0237 | 136.3311 | 131.7191 | 0 | 0 | 0 | 0
| 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 155.971 | 174.1696 | 182.5343 | 184.43 | 185.9973 | 184.0101 | 180.4536 | 177.3819 | 173.9908 | 168.1113 | 162.3279 | 0 | 0 | 0 | 0
| 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210.9868 | 219.3946 | 220.8918 | 222.4022 | 219.8932 | 215.3876 | 211.3876 | 207.1552 | 200.1742 | 193.1694 | 185.3522 | 178.122 | 0 | 0
| 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248.2866 | 256.6397 | 257.6369 | 259.0434 | 256.0024 | 250.5715 | 245.5944 | 240.4801 | 232.4101 | 224.2071 | 0 | 0 | 0 | 0
| 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 294.1835 | 294.6159 | 295.876 | 292.304 | 285.9762 | 279.965 | 273.9347 | 264.7609 | 255.4162 | 0 | 0 | 0 | 0
| 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 331.9818 | 331.7933 | 332.8705 | 328.759 | 321.5754 | 314.4924 | 307.495 | 297.2216 | 286.7761 | 0 | 0 | 0 | 0
| 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 369.1448 | 370.0001 | 365.3422 | 357.3457 | 349.1716 | 341.1429 | 329.7697 | 0 | 0 | 0 | 0 | 0
| 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 402.0334 | 393.2405 | 383.9366 | 374.8687 | 362.3881 | 0 | 0 | 0 | 0 | 0
| 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 429.223 | 418.7881 | 408.6703 | 395.069 | 0 | 0 | 0 | 0 | 0
| 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 453.7161 | 442.5315 | 0 | 0 | 0 | 0 | 0 | 0
| 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
Constrained Performance Matrix
Energy Period - Te (s), center of bin
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
Hm0 (m), center of bin | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4207 | 10.904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.75 | 0 | 0 | 0 | 0 | 5.3558 | 13.2638 | 26.5002 | 36.52 | 41.5812 | 43.9294 | 45.0192 | 45.251 | 45.1453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.25 | 0 | 0 | 0 | 0 | 15.7521 | 37.2893 | 56.4405 | 68.6839 | 75.2929 | 77.7684 | 79.1127 | 78.6688 | 77.9138 | 77.1812 | 76.1576 | 73.8788 | 0 | 0 | 0 | 0 | 0
| 1.75 | 0 | 0 | 0 | 0 | 0 | 63.6957 | 88.8199 | 102.6592 | 110.3113 | 112.7189 | 114.2048 | 113.2194 | 111.6198 | 110.1928 | 108.3326 | 104.8766 | 0 | 0 | 0 | 0 | 0
| 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 122.0499 | 137.9402 | 146.1352 | 148.3326 | 149.8993 | 148.4149 | 145.8356 | 143.6254 | 141.0237 | 136.3311 | 131.7191 | 0 | 0 | 0 | 0
| 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 155.971 | 174.1696 | 182.5343 | 184.43 | 185.9973 | 184.0101 | 180.4536 | 177.3819 | 173.9908 | 168.1113 | 162.3279 | 0 | 0 | 0 | 0
| 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210.9868 | 219.3946 | 220.8918 | 222.4022 | 219.8932 | 215.3876 | 211.3876 | 207.1552 | 200.1742 | 193.1694 | 185.3522 | 178.122 | 0 | 0
| 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248.2866 | 256.6397 | 257.6369 | 259.0434 | 256.0024 | 250.5715 | 245.5944 | 240.4801 | 232.4101 | 224.2071 | 0 | 0 | 0 | 0
| 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 294.1835 | 294.6159 | 295.876 | 292.304 | 285.9762 | 279.965 | 273.9347 | 264.7609 | 255.4162 | 0 | 0 | 0 | 0
| 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 331.9818 | 331.7933 | 332.8705 | 328.759 | 321.5754 | 314.4924 | 307.495 | 297.2216 | 286.7761 | 0 | 0 | 0 | 0
| 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 369.1448 | 370.0001 | 365.3422 | 357.3457 | 349.1716 | 341.1429 | 329.7697 | 0 | 0 | 0 | 0 | 0
| 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 402.0334 | 393.2405 | 383.9366 | 374.8687 | 362.3881 | 0 | 0 | 0 | 0 | 0
| 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 429.223 | 418.7881 | 408.6703 | 395.069 | 0 | 0 | 0 | 0 | 0
| 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 449.1559 | 442.5315 | 0 | 0 | 0 | 0 | 0 | 0
| 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
Scatter diagram
% of Total Occurance |  | Energy Period - Te (s), center of bin
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
Hm0 (m), center of bin | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01958 | 0.033939 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.75 | 0 | 0 | 0 | 0 | 0.01958 | 0.4647 | 1.4868 | 2.6811 | 1.9058 | 1.1043 | 0.53388 | 0.171 | 0.015664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.25 | 0 | 0 | 0 | 0 | 0.013053 | 0.5887 | 4.1066 | 5.5581 | 4.4786 | 2.736 | 1.2766 | 0.67355 | 0.32764 | 0.067877 | 0.018275 | 0.016969 | 0 | 0 | 0 | 0 | 0
| 1.75 | 0 | 0 | 0 | 0 | 0 | 0.11878 | 3.2699 | 5.1404 | 4.6248 | 3.9264 | 2.1081 | 1.2361 | 0.76231 | 0.30936 | 0.096594 | 0.028717 | 0 | 0 | 0 | 0 | 0
| 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0.91895 | 5.25 | 3.6758 | 4.1392 | 2.8652 | 1.3106 | 0.84324 | 0.42293 | 0.19841 | 0.075709 | 0.01958 | 0 | 0 | 0 | 0
| 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13706 | 2.4279 | 2.5963 | 2.8182 | 2.8469 | 1.5664 | 0.79625 | 0.3172 | 0.14489 | 0.056129 | 0.018275 | 0 | 0 | 0 | 0
| 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44512 | 1.5429 | 1.4698 | 1.9593 | 1.4202 | 0.78972 | 0.3185 | 0.10704 | 0.040465 | 0.01958 | 0.011748 | 0.010443 | 0 | 0
| 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.048297 | 0.4908 | 0.62917 | 1.0769 | 1.0064 | 0.62786 | 0.29109 | 0.10182 | 0.048297 | 0.018275 | 0 | 0 | 0 | 0
| 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.093984 | 0.20885 | 0.44903 | 0.55868 | 0.4164 | 0.21146 | 0.067877 | 0.023496 | 0.020885 | 0 | 0 | 0 | 0
| 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01958 | 0.082236 | 0.1214 | 0.26368 | 0.26629 | 0.18666 | 0.071793 | 0.023496 | 0.010443 | 0 | 0 | 0 | 0
| 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.027412 | 0.027412 | 0.10573 | 0.15142 | 0.13053 | 0.070488 | 0.020885 | 0 | 0 | 0 | 0 | 0
| 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.022191 | 0.073098 | 0.054824 | 0.045687 | 0.018275 | 0 | 0 | 0 | 0 | 0
| 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.032633 | 0.040465 | 0.020885 | 0.011748 | 0 | 0 | 0 | 0 | 0
| 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020885 | 0.018275 | 0 | 0 | 0 | 0 | 0 | 0
| 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
[21 empty] | Sum | 99.8277
Annual Energy Captured
Energy Period - Te (s), center of bin
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
Hm0 (m), center of bin | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1453 | 0.37007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.75 | 0 | 0 | 0 | 0 | 0.10487 | 6.1637 | 39.3997 | 97.9154 | 79.2446 | 48.5116 | 24.0348 | 7.7378 | 0.70715 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.25 | 0 | 0 | 0 | 0 | 0.20562 | 21.9523 | 231.7765 | 381.7518 | 337.2056 | 212.7721 | 100.9963 | 52.9874 | 25.5275 | 5.2388 | 1.3918 | 1.2537 | 0 | 0 | 0 | 0 | 0
| 1.75 | 0 | 0 | 0 | 0 | 0 | 7.5661 | 290.4277 | 527.7081 | 510.1658 | 442.5829 | 240.7561 | 139.9559 | 85.0892 | 34.0896 | 10.4643 | 3.0118 | 0 | 0 | 0 | 0 | 0
| 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 112.158 | 724.1909 | 537.1651 | 613.9783 | 429.4912 | 194.5052 | 122.9748 | 60.743 | 27.9805 | 10.3215 | 2.5791 | 0 | 0 | 0 | 0
| 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 21.3773 | 422.8686 | 473.9138 | 519.7619 | 529.52 | 288.2326 | 143.6864 | 56.2647 | 25.2098 | 9.4359 | 2.9665 | 0 | 0 | 0 | 0
| 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93.9139 | 338.5038 | 324.6671 | 435.7525 | 312.2921 | 170.0969 | 67.327 | 22.1733 | 8.1001 | 3.7822 | 2.1775 | 1.8601 | 0 | 0
| 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 11.9915 | 125.9598 | 162.0971 | 278.963 | 257.6431 | 157.3247 | 71.4897 | 24.4847 | 11.2248 | 4.0973 | 0 | 0 | 0 | 0
| 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27.6485 | 61.5313 | 132.8582 | 163.3047 | 119.0806 | 59.2024 | 18.5939 | 6.2208 | 5.3344 | 0 | 0 | 0 | 0
| 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.5002 | 27.2853 | 40.409 | 86.6861 | 85.6314 | 58.7038 | 22.076 | 6.9835 | 2.9947 | 0 | 0 | 0 | 0
| 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.119 | 10.1424 | 38.6283 | 54.1087 | 45.5784 | 24.0464 | 6.8873 | 0 | 0 | 0 | 0 | 0
| 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8.9214 | 28.7453 | 21.0489 | 17.1265 | 6.6225 | 0 | 0 | 0 | 0 | 0
| 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14.0069 | 16.9464 | 8.5352 | 4.6413 | 0 | 0 | 0 | 0 | 0
| 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9.3807 | 8.0871 | 0 | 0 | 0 | 0 | 0 | 0
| 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
[21 empty] | Sum | 13449.0767
[21 empty] | Avg P | 134.7229

## Slow Tuning Heaving Buoy
Rated Power |  | 182.6183 | kW
Annual Energy |  | 481.25 | MWh/yr
Avg. Power |  | 54.9372 | kW
Capacity Factor |  | 30.08%
Unconstrained Performance Matrix
Energy Period - Te (s), center of bin
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
Hm0 (m), center of bin | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.64924 | 0.67777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.75 | 0 | 0 | 0 | 0 | 3.5523 | 4.5785 | 5.2048 | 5.8432 | 6.1 | 6.1079 | 6.0491 | 5.8937 | 5.709 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.25 | 0 | 0 | 0 | 0 | 9.8675 | 12.718 | 14.4578 | 16.2311 | 16.9443 | 16.9664 | 16.803 | 16.3713 | 15.8583 | 15.2101 | 14.9586 | 14.2488 | 0 | 0 | 0 | 0 | 0
| 1.75 | 0 | 0 | 0 | 0 | 0 | 24.9272 | 28.3373 | 31.8129 | 33.2109 | 33.2542 | 32.9339 | 32.0877 | 31.0822 | 29.8117 | 29.3188 | 27.9276 | 0 | 0 | 0 | 0 | 0
| 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 46.8433 | 52.5886 | 54.8997 | 54.9712 | 54.4417 | 53.043 | 51.3807 | 49.2806 | 48.4657 | 46.166 | 44.9092 | 0 | 0 | 0 | 0
| 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 69.9758 | 78.5583 | 82.0106 | 82.1175 | 81.3265 | 79.2371 | 76.754 | 73.6168 | 72.3994 | 68.964 | 67.0867 | 0 | 0 | 0 | 0
| 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.722 | 114.5437 | 114.693 | 113.5883 | 110.6699 | 107.2018 | 102.8201 | 101.1199 | 96.3216 | 93.6995 | 76.5938 | 64.9076 | 0 | 0
| 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 146.0795 | 152.499 | 152.6978 | 151.227 | 147.3416 | 142.7243 | 136.8907 | 134.6271 | 128.2388 | 124.7479 | 0 | 0 | 0 | 0
| 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 195.8765 | 194.5072 | 194.5963 | 189.2522 | 183.3214 | 175.8285 | 173.5818 | 165.2109 | 160.2318 | 0 | 0 | 0 | 0
| 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 244.6762 | 233.088 | 242.0211 | 238.1336 | 230.3725 | 221.3012 | 214.9266 | 206.2343 | 200.1397 | 0 | 0 | 0 | 0
| 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 269.8446 | 288.5252 | 289.5195 | 283.0942 | 274.3893 | 251.9784 | 236.2119 | 0 | 0 | 0 | 0 | 0
| 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 341.2086 | 336.5692 | 327.9058 | 286.8895 | 260.8884 | 0 | 0 | 0 | 0 | 0
| 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 387.2968 | 377.3564 | 320.6453 | 283.0432 | 0 | 0 | 0 | 0 | 0
| 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 423.1941 | 353.6797 | 0 | 0 | 0 | 0 | 0 | 0
| 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
Constrained Performance Matrix
Energy Period - Te (s), center of bin
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
Hm0 (m), center of bin | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.64924 | 0.67777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.75 | 0 | 0 | 0 | 0 | 3.5523 | 4.5785 | 5.2048 | 5.8432 | 6.1 | 6.1079 | 6.0491 | 5.8937 | 5.709 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.25 | 0 | 0 | 0 | 0 | 9.8675 | 12.718 | 14.4578 | 16.2311 | 16.9443 | 16.9664 | 16.803 | 16.3713 | 15.8583 | 15.2101 | 14.9586 | 14.2488 | 0 | 0 | 0 | 0 | 0
| 1.75 | 0 | 0 | 0 | 0 | 0 | 24.9272 | 28.3373 | 31.8129 | 33.2109 | 33.2542 | 32.9339 | 32.0877 | 31.0822 | 29.8117 | 29.3188 | 27.9276 | 0 | 0 | 0 | 0 | 0
| 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 46.8433 | 52.5886 | 54.8997 | 54.9712 | 54.4417 | 53.043 | 51.3807 | 49.2806 | 48.4657 | 46.166 | 44.9092 | 0 | 0 | 0 | 0
| 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 69.9758 | 78.5583 | 82.0106 | 82.1175 | 81.3265 | 79.2371 | 76.754 | 73.6168 | 72.3994 | 68.964 | 67.0867 | 0 | 0 | 0 | 0
| 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.722 | 114.5437 | 114.693 | 113.5883 | 110.6699 | 107.2018 | 102.8201 | 101.1199 | 96.3216 | 93.6995 | 76.5938 | 64.9076 | 0 | 0
| 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 146.0795 | 152.499 | 152.6978 | 151.227 | 147.3416 | 142.7243 | 136.8907 | 134.6271 | 128.2388 | 124.7479 | 0 | 0 | 0 | 0
| 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 175.8285 | 173.5818 | 165.2109 | 160.2318 | 0 | 0 | 0 | 0
| 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 0 | 0 | 0 | 0
| 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 0 | 0 | 0 | 0 | 0
| 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 0 | 0 | 0 | 0 | 0
| 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 0 | 0 | 0 | 0 | 0
| 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 0 | 0 | 0 | 0 | 0 | 0
| 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
Scatter diagram
% of Total Occurance |  | Energy Period - Te (s), center of bin
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
Hm0 (m), center of bin | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01958 | 0.033939 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.75 | 0 | 0 | 0 | 0 | 0.01958 | 0.4647 | 1.4868 | 2.6811 | 1.9058 | 1.1043 | 0.53388 | 0.171 | 0.015664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.25 | 0 | 0 | 0 | 0 | 0.013053 | 0.5887 | 4.1066 | 5.5581 | 4.4786 | 2.736 | 1.2766 | 0.67355 | 0.32764 | 0.067877 | 0.018275 | 0.016969 | 0 | 0 | 0 | 0 | 0
| 1.75 | 0 | 0 | 0 | 0 | 0 | 0.11878 | 3.2699 | 5.1404 | 4.6248 | 3.9264 | 2.1081 | 1.2361 | 0.76231 | 0.30936 | 0.096594 | 0.028717 | 0 | 0 | 0 | 0 | 0
| 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0.91895 | 5.25 | 3.6758 | 4.1392 | 2.8652 | 1.3106 | 0.84324 | 0.42293 | 0.19841 | 0.075709 | 0.01958 | 0 | 0 | 0 | 0
| 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0.13706 | 2.4279 | 2.5963 | 2.8182 | 2.8469 | 1.5664 | 0.79625 | 0.3172 | 0.14489 | 0.056129 | 0.018275 | 0 | 0 | 0 | 0
| 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.44512 | 1.5429 | 1.4698 | 1.9593 | 1.4202 | 0.78972 | 0.3185 | 0.10704 | 0.040465 | 0.01958 | 0.011748 | 0.010443 | 0 | 0
| 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.048297 | 0.4908 | 0.62917 | 1.0769 | 1.0064 | 0.62786 | 0.29109 | 0.10182 | 0.048297 | 0.018275 | 0 | 0 | 0 | 0
| 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.093984 | 0.20885 | 0.44903 | 0.55868 | 0.4164 | 0.21146 | 0.067877 | 0.023496 | 0.020885 | 0 | 0 | 0 | 0
| 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.01958 | 0.082236 | 0.1214 | 0.26368 | 0.26629 | 0.18666 | 0.071793 | 0.023496 | 0.010443 | 0 | 0 | 0 | 0
| 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.027412 | 0.027412 | 0.10573 | 0.15142 | 0.13053 | 0.070488 | 0.020885 | 0 | 0 | 0 | 0 | 0
| 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.022191 | 0.073098 | 0.054824 | 0.045687 | 0.018275 | 0 | 0 | 0 | 0 | 0
| 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.032633 | 0.040465 | 0.020885 | 0.011748 | 0 | 0 | 0 | 0 | 0
| 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.020885 | 0.018275 | 0 | 0 | 0 | 0 | 0 | 0
| 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
[21 empty] | Sum | 99.8277
Annual Energy Captured
Energy Period - Te (s), center of bin
|  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
Hm0 (m), center of bin | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.012712 | 0.023003 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 0.75 | 0 | 0 | 0 | 0 | 0.069554 | 2.1276 | 7.7384 | 15.6664 | 11.6252 | 6.745 | 3.2295 | 1.0078 | 0.089425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 1.25 | 0 | 0 | 0 | 0 | 0.1288 | 7.4871 | 59.372 | 90.2138 | 75.8867 | 46.4196 | 21.4509 | 11.0269 | 5.1958 | 1.0324 | 0.27336 | 0.24179 | 0 | 0 | 0 | 0 | 0
| 1.75 | 0 | 0 | 0 | 0 | 0 | 2.961 | 92.6588 | 163.5305 | 153.5932 | 130.5703 | 69.4282 | 39.6652 | 23.6943 | 9.2227 | 2.832 | 0.802 | 0 | 0 | 0 | 0 | 0
| 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 43.0467 | 276.0922 | 201.8006 | 227.5369 | 155.9864 | 69.5155 | 43.3265 | 20.8421 | 9.6161 | 3.4952 | 0.87932 | 0 | 0 | 0 | 0
| 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 9.5909 | 190.7328 | 212.9242 | 231.4241 | 231.5305 | 124.1166 | 61.1154 | 23.3509 | 10.4901 | 3.8709 | 1.226 | 0 | 0 | 0 | 0
| 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 48.8392 | 176.7295 | 168.5759 | 222.5536 | 157.1733 | 84.6599 | 32.7482 | 10.8236 | 3.8977 | 1.8346 | 0.89982 | 0.67781 | 0 | 0
| 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.0552 | 74.8471 | 96.0727 | 162.856 | 148.286 | 89.6114 | 39.8473 | 13.7072 | 6.1936 | 2.2797 | 0 | 0 | 0 | 0
| 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17.1631 | 38.1403 | 82.0017 | 102.0254 | 76.0423 | 37.1813 | 11.7822 | 3.8818 | 3.3465 | 0 | 0 | 0 | 0
| 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5757 | 15.0178 | 22.1691 | 48.1522 | 48.6289 | 34.0879 | 13.1107 | 4.2908 | 1.907 | 0 | 0 | 0 | 0
| 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.0059 | 5.0059 | 19.3085 | 27.6517 | 23.8377 | 12.8724 | 3.814 | 0 | 0 | 0 | 0 | 0
| 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.0524 | 13.3491 | 10.0118 | 8.3432 | 3.3373 | 0 | 0 | 0 | 0 | 0
| 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.9594 | 7.3897 | 3.814 | 2.1454 | 0 | 0 | 0 | 0 | 0
| 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.814 | 3.3373 | 0 | 0 | 0 | 0 | 0 | 0
| 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
[21 empty] | Sum | 5484.2554
[21 empty] | Avg P | 54.9372

## Comparison Heaving Buoy
Constrained Performance Matrix with Optimal Linear damping (Baseline)
Energy Period - Te (s), center of bin
|  |  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
| Hm0 (m), center of bin | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.64924 | 0.67777 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.75 | 0 | 0 | 0 | 0 | 3.5523 | 4.5785 | 5.2048 | 5.8432 | 6.1 | 6.1079 | 6.0491 | 5.8937 | 5.709 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1.25 | 0 | 0 | 0 | 0 | 9.8675 | 12.718 | 14.4578 | 16.2311 | 16.9443 | 16.9664 | 16.803 | 16.3713 | 15.8583 | 15.2101 | 14.9586 | 14.2488 | 0 | 0 | 0 | 0 | 0
|  | 1.75 | 0 | 0 | 0 | 0 | 0 | 24.9272 | 28.3373 | 31.8129 | 33.2109 | 33.2542 | 32.9339 | 32.0877 | 31.0822 | 29.8117 | 29.3188 | 27.9276 | 0 | 0 | 0 | 0 | 0
|  | 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 46.8433 | 52.5886 | 54.8997 | 54.9712 | 54.4417 | 53.043 | 51.3807 | 49.2806 | 48.4657 | 46.166 | 44.9092 | 0 | 0 | 0 | 0
|  | 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 69.9758 | 78.5583 | 82.0106 | 82.1175 | 81.3265 | 79.2371 | 76.754 | 73.6168 | 72.3994 | 68.964 | 67.0867 | 0 | 0 | 0 | 0
|  | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.722 | 114.5437 | 114.693 | 113.5883 | 110.6699 | 107.2018 | 102.8201 | 101.1199 | 96.3216 | 93.6995 | 76.5938 | 64.9076 | 0 | 0
|  | 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 146.0795 | 152.499 | 152.6978 | 151.227 | 147.3416 | 142.7243 | 136.8907 | 134.6271 | 128.2388 | 124.7479 | 0 | 0 | 0 | 0
|  | 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 175.8285 | 173.5818 | 165.2109 | 160.2318 | 0 | 0 | 0 | 0
|  | 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 0 | 0 | 0 | 0
|  | 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 0 | 0 | 0 | 0 | 0
|  | 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 0 | 0 | 0 | 0 | 0
|  | 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 182.6183 | 182.6183 | 0 | 0 | 0 | 0 | 0
|  | 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182.6183 | 182.6183 | 0 | 0 | 0 | 0 | 0 | 0
|  | 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
Constrained MPC Performance Matrix (Heaving Buoy with motion constraints)
Energy Period - Te (s), center of bin
|  |  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
| Hm0 (m), center of bin | 0.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.4207 | 10.904 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 0.75 | 0 | 0 | 0 | 0 | 5.3558 | 13.2638 | 26.5002 | 36.52 | 41.5812 | 43.9294 | 45.0192 | 45.251 | 45.1453 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 1.25 | 0 | 0 | 0 | 0 | 15.7521 | 37.2893 | 56.4405 | 68.6839 | 75.2929 | 77.7684 | 79.1127 | 78.6688 | 77.9138 | 77.1812 | 76.1576 | 73.8788 | 0 | 0 | 0 | 0 | 0
|  | 1.75 | 0 | 0 | 0 | 0 | 0 | 63.6957 | 88.8199 | 102.6592 | 110.3113 | 112.7189 | 114.2048 | 113.2194 | 111.6198 | 110.1928 | 108.3326 | 104.8766 | 0 | 0 | 0 | 0 | 0
|  | 2.25 | 0 | 0 | 0 | 0 | 0 | 0 | 122.0499 | 137.9402 | 146.1352 | 148.3326 | 149.8993 | 148.4149 | 145.8356 | 143.6254 | 141.0237 | 136.3311 | 131.7191 | 0 | 0 | 0 | 0
|  | 2.75 | 0 | 0 | 0 | 0 | 0 | 0 | 155.971 | 174.1696 | 182.5343 | 184.43 | 185.9973 | 184.0101 | 180.4536 | 177.3819 | 173.9908 | 168.1113 | 162.3279 | 0 | 0 | 0 | 0
|  | 3.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210.9868 | 219.3946 | 220.8918 | 222.4022 | 219.8932 | 215.3876 | 211.3876 | 207.1552 | 200.1742 | 193.1694 | 185.3522 | 178.122 | 0 | 0
|  | 3.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 248.2866 | 256.6397 | 257.6369 | 259.0434 | 256.0024 | 250.5715 | 245.5944 | 240.4801 | 232.4101 | 224.2071 | 0 | 0 | 0 | 0
|  | 4.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 294.1835 | 294.6159 | 295.876 | 292.304 | 285.9762 | 279.965 | 273.9347 | 264.7609 | 255.4162 | 0 | 0 | 0 | 0
|  | 4.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 331.9818 | 331.7933 | 332.8705 | 328.759 | 321.5754 | 314.4924 | 307.495 | 297.2216 | 286.7761 | 0 | 0 | 0 | 0
|  | 5.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 369.1448 | 370.0001 | 365.3422 | 357.3457 | 349.1716 | 341.1429 | 329.7697 | 0 | 0 | 0 | 0 | 0
|  | 5.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 402.0334 | 393.2405 | 383.9366 | 374.8687 | 362.3881 | 0 | 0 | 0 | 0 | 0
|  | 6.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 429.223 | 418.7881 | 408.6703 | 395.069 | 0 | 0 | 0 | 0 | 0
|  | 6.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 449.1559 | 442.5315 | 0 | 0 | 0 | 0 | 0 | 0
|  | 7.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 7.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 8.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 9.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 9.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
% Improvement over Baseline
Energy Period - Te (s), center of bin
|  |  | 0.5 | 1.5 | 2.5 | 3.5 | 4.5 | 5.5 | 6.5 | 7.5 | 8.5 | 9.5 | 10.5 | 11.5 | 12.5 | 13.5 | 14.5 | 15.5 | 16.5 | 17.5 | 18.5 | 19.5 | 20.5
| Hm0 (m), center of bin | 0.25 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 1143% | 1609% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  | 0.75 | 0% | 0% | 0% | 0% | 150.8% | 289.7% | 509.1% | 625% | 681.7% | 719.2% | 744.2% | 767.8% | 790.8% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  | 1.25 | 0% | 0% | 0% | 0% | 159.6% | 293.2% | 390.4% | 423.2% | 444.4% | 458.4% | 470.8% | 480.5% | 491.3% | 507.4% | 509.1% | 518.5% | 0% | 0% | 0% | 0% | 0%
|  | 1.75 | 0% | 0% | 0% | 0% | 0% | 255.5% | 313.4% | 322.7% | 332.2% | 339% | 346.8% | 352.8% | 359.1% | 369.6% | 369.5% | 375.5% | 0% | 0% | 0% | 0% | 0%
|  | 2.25 | 0% | 0% | 0% | 0% | 0% | 0% | 260.5% | 262.3% | 266.2% | 269.8% | 275.3% | 279.8% | 283.8% | 291.4% | 291% | 295.3% | 293.3% | 0% | 0% | 0% | 0%
|  | 2.75 | 0% | 0% | 0% | 0% | 0% | 0% | 222.9% | 221.7% | 222.6% | 224.6% | 228.7% | 232.2% | 235.1% | 241% | 240.3% | 243.8% | 242% | 0% | 0% | 0% | 0%
|  | 3.25 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 192.3% | 191.5% | 192.6% | 195.8% | 198.7% | 200.9% | 205.6% | 204.9% | 207.8% | 206.2% | 242% | 274.4% | 0% | 0%
|  | 3.75 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 170% | 168.3% | 168.7% | 171.3% | 173.7% | 175.6% | 179.4% | 178.6% | 181.2% | 179.7% | 0% | 0% | 0% | 0%
|  | 4.25 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 161.1% | 161.3% | 162% | 160.1% | 156.6% | 159.2% | 157.8% | 160.3% | 159.4% | 0% | 0% | 0% | 0%
|  | 4.75 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 181.8% | 181.7% | 182.3% | 180% | 176.1% | 172.2% | 168.4% | 162.8% | 157% | 0% | 0% | 0% | 0%
|  | 5.25 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 202.1% | 202.6% | 200.1% | 195.7% | 191.2% | 186.8% | 180.6% | 0% | 0% | 0% | 0% | 0%
|  | 5.75 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 220.1% | 215.3% | 210.2% | 205.3% | 198.4% | 0% | 0% | 0% | 0% | 0%
|  | 6.25 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 235% | 229.3% | 223.8% | 216.3% | 0% | 0% | 0% | 0% | 0%
|  | 6.75 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 246% | 242.3% | 0% | 0% | 0% | 0% | 0% | 0%
|  | 7.25 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  | 7.75 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  | 8.25 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  | 8.75 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  | 9.25 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  | 9.75 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
|  |  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
Peak Period - Tp (s), center of bin
Comparison MPC vs. Slow Tuning @ Hs = 1.25m
|  |  |  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
|  |  | Slow Tuning | 0 | 0 | 0 | 0 | 9.8675 | 12.718 | 14.4578 | 16.2311 | 16.9443 | 16.9664 | 16.803 | 16.3713 | 15.8583 | 15.2101 | 14.9586 | 14.2488 | 0 | 0 | 0 | 0 | 0
|  |  | MPC | 0 | 0 | 0 | 0 | 15.7521 | 37.2893 | 56.4405 | 68.6839 | 75.2929 | 77.7684 | 79.1127 | 78.6688 | 77.9138 | 77.1812 | 76.1576 | 73.8788 | 0 | 0 | 0 | 0 | 0
Comparison MPC vs. Slow Tuning @ Hs = 2.25m
|  |  |  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
|  |  | Slow Tuning | 0 | 0 | 0 | 0 | 0 | 0 | 46.8433 | 52.5886 | 54.8997 | 54.9712 | 54.4417 | 53.043 | 51.3807 | 49.2806 | 48.4657 | 46.166 | 44.9092 | 0 | 0 | 0 | 0
|  |  | MPC | 0 | 0 | 0 | 0 | 0 | 0 | 122.0499 | 137.9402 | 146.1352 | 148.3326 | 149.8993 | 148.4149 | 145.8356 | 143.6254 | 141.0237 | 136.3311 | 131.7191 | 0 | 0 | 0 | 0
Comparison MPC vs. Slow Tuning @ Hs = 3.25m
|  |  |  | 0.58 | 1.74 | 2.9 | 4.06 | 5.22 | 6.38 | 7.54 | 8.7 | 9.86 | 11.02 | 12.18 | 13.34 | 14.5 | 15.66 | 16.82 | 17.98 | 19.14 | 20.3 | 21.46 | 22.62 | 23.78
|  |  | Slow Tuning | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.722 | 114.5437 | 114.693 | 113.5883 | 110.6699 | 107.2018 | 102.8201 | 101.1199 | 96.3216 | 93.6995 | 76.5938 | 64.9076 | 0 | 0
|  |  | MPC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210.9868 | 219.3946 | 220.8918 | 222.4022 | 219.8932 | 215.3876 | 211.3876 | 207.1552 | 200.1742 | 193.1694 | 185.3522 | 178.122 | 0 | 0