## mat file variables
Variable name | Size | unit | Description
time | 1 x samples | sec | Time vector with sampling rate of: 10Hz for operational seas cases, and 25Hz for extreme seas cases
genVel | 1 x samples | rad/s | Relative velocity of PTO axis of rotation in nacelle LSA (rotor wrt stator)
genTorq | 1 x samples | Nm | Generator torque (not including mechanical friction), in nacelle LSA
genElec | 1 x samples | W | Generator output power (input to electric plant)
genVolt | 1 x samples | V | Generator output voltage (input to electric plant)
ovrV.peak | events x 1 | V | Overvoltage event peak (per event)
ovrV.ind0 | events x 1 | index | 1st index above voltage threshold (per event)
ovrV.ind1 | events x 1 | index | Last index above voltage threshold (per event)
ovrV.len | events x 1 | sec | Time spent over voltage (per event)
A total of 24 operational sea states are used to characterize the annual resource at PacWave South
These are listed on 'overview', with annual occurrence rate (occ) of each sea state, and other characteristics
Hydrodynamic simulations were run for each, resulting in time domain output of generator speed, torque, and voltage, etc.
Simulations performed using Ansys AQWA NAUT v16
Simulation time step was 0.02s (50Hz), but data was downsampled to 0.1s (10Hz)
Total time simulated, minus the 60 s ramp up period, is tabulated as 't' on 'overview' sheet
In cases where the float 'overtops' the nacelle, results with float in aft position are removed from the evaluation window
In all cases, the beginning and end of the evaluation window are trimmed such that only complete voltage oscillations are included
Time domain signals provided include only those samples in the evaluation window
Variable 'time' is elapsed time over the evaluation window, starting at t=0
For each overvoltage event, the variable 'ovrV' includes peak voltage, indices at the beginning and end of peak, and the length of time above peak
Sheet 'overview' tabulates the 24 operational sea states, along with other characteristics, including annual occurrence rate, length of eval window, and number of overvoltage events per sea state
Sheet 'ovrVolt' tabulates all overvoltage events for the 24 sea states
Overvoltage threshold considered in this analysis: 880 V
Dataset used for this analysis: ovrVolt_30sep2024.zip

## overview
[9 empty] | elecGen |  | overspeed events
Index | fileName | Hm0 [m] | Te [s] | Tz [s] | t [s] | eval t [s] | occ [1/1e4] | J [kW/m] | power [kW] | energy [kWh] | [N/sim] | [N/hr] | [N/yr] |  | EkJ | EJ | Occ Scaled
oss01 | 'N7638cs3' | 1 | 6 | 4.98 | 2400 | 2394.2 | 150.9867 | 2.9465 | 36.4773 | 4827.9489 |  |  |  |  | 87333.9215 | 87333921.5166 | 13186259572.9647
oss02 | 'N7638cs9' | 1 | 8 | 6.63 | 2400 | 2394.7 | 645.3641 | 4.0158 | 28.4241 | 16080.2441
oss03 | 'N7638cs15' | 1 | 10 | 8.29 | 2400 | 2397.5 | 328.3619 | 5.2564 | 15.8859 | 4572.6165
oss04 | 'N7638cs21' | 1 | 14 | 11.61 | 2800 | 2796.3 | 19.731 | 7.8654 | 6.1526 | 106.4168
oss05 | 'N7638cs27' | 1.5 | 9 | 7.46 | 2400 | 2396.6 | 1406.684 | 10.3866 | 48.0512 | 59251.9264
oss06 | 'N7638cs33' | 2 | 6 | 4.98 | 2400 | 2398.6 | 274.0223 | 11.7859 | 122.2089 | 29355.5504
oss07 | 'N7638cs39' | 2 | 8 | 6.63 | 2400 | 2396.5 | 1318.5588 | 16.0632 | 98.3526 | 113680.7141
oss08 | 'N7638cs45' | 2 | 10 | 8.29 | 2400 | 2397.2 | 1629.0865 | 21.0257 | 63.89 | 91238.5964
oss09 | 'N7638cs51' | 2 | 12 | 9.95 | 2400 | 2395.6 | 814.3285 | 26.3421 | 37.5552 | 26808.4501
oss10 | 'N7638cs57' | 2 | 16 | 13.27 | 3200 | 3196.8 | 28.4042 | 36.0558 | 19.8453 | 494.1316
oss11 | 'N7638cs63' | 3 | 8 | 6.63 | 2400 | 2396.5 | 315.9027 | 36.1423 | 178.8815 | 49535.9044 | 6 | 9.0131 | 2495.9225 | 1895.4161
oss12 | 'N7638cs69' | 3 | 10 | 8.29 | 2400 | 2397 | 1094.5683 | 47.3079 | 125.0503 | 119985.6224 |  |  |  | 0
oss13 | 'N7638cs75' | 3 | 14 | 11.61 | 2800 | 2798.3 | 371.8737 | 70.7884 | 57.488 | 18740.1962 |  |  |  | 0
oss14 | 'N7638cs81' | 4 | 8 | 6.63 | 2400 | 2395.6 | 82.4525 | 64.253 | 240.3478 | 17371.8259 | 39 | 58.6074 | 4236.0214 | 3215.6479
oss15 | 'N7638cs87' | 4 | 10 | 8.29 | 2400 | 2397 | 337.0839 | 84.1029 | 184.0496 | 54384.4067 | 12 | 18.0225 | 5325.4361 | 4045.0067
oss16 | 'N7638cs93' | 4 | 12 | 9.95 | 2400 | 2398.5 | 631.5199 | 105.3685 | 119.4028 | 66100.2234 | 2 | 3.0019 | 1661.8096 | 1263.0397
oss17 | 'N7638cs99' | 4 | 16 | 13.27 | 3200 | 3197.1 | 55.7598 | 144.2231 | 78.5045 | 3837.225 |  |  |  | 0
oss18 | 'N7638cs105' | 5 | 10 | 8.29 | 2400 | 2382 | 154.163 | 131.4108 | 234.3931 | 31675.7205 | 29 | 43.8287 | 5922.9818 | 4470.7274
oss19 | 'N7638cs111' | 5 | 14 | 11.61 | 2800 | 2797.9 | 164.9039 | 196.6344 | 125.4649 | 18136.5494 | 3 | 3.86 | 557.9868 | 494.7116
oss20 | 'N7638cs117' | 6 | 10 | 8.29 | 2400 | 476.9 | 42.4979 | 189.2315 | 227.4906 | 8474.854 | 8 | 60.39 | 2249.7478 | 339.983 | 42
oss21 | 'N7638cs123' | 6 | 12 | 9.95 | 2400 | 2395.8 | 75.628 | 237.0791 | 200.6299 | 13300.86 | 26 | 39.0684 | 2590.0578 | 1966.3284
oss22 | 'N7638cs129' | 6 | 16 | 13.27 | 3200 | 3197.1 | 21.7261 | 324.5021 | 146.8549 | 2796.8712 | 2 | 2.252 | 42.8904 | 43.4523
oss23 | 'N7638cs135' | 7.5 | 12 | 9.95 | 2400 | 598.6 | 21.1974 | 370.4362 | 231.554 | 4302.6607 | 9 | 54.1263 | 1005.757 | 190.7769 | 21
oss24 | 'N7638cs141' | 7.5 | 14 | 11.61 | 2800 | 2797.2 | 15.1948 | 442.4274 | 202.6439 | 2699.1749 | 26 | 33.462 | 445.7073 | 395.0657
[7 empty] | 10000 | 39.8703 | 86.4429 | 757758.6899 |  |  | 26534.3184 | 18320.1556 | 63

## ovrVolt
ss | 11 | evalWin [s] | 2396.5 | rate [n/hr] | 9.0131 | ss | 15 | evalWin [s] | 2397 | rate [n/hr] | 18.0225 | ss | 18 | evalWin [s] | 2382 | rate [n/hr] | 43.8287 | ss | 21 | evalWin [s] | 2395.8 | rate [n/hr] | 39.0684 | ss | 23 | evalWin [s] | 598.6 | rate [n/hr] | 54.1263
count | peak [V] | length [s] | time [s] | ind0 | ind1 | count | peak [V] | length [s] | time [s] | ind0 | ind1 | count | peak [V] | length [s] | time [s] | ind0 | ind1 | count | peak [V] | length [s] | time [s] | ind0 | ind1 | count | peak [V] | length [s] | time [s] | ind0 | ind1
1 | 939.7461 | 0.4 | 983.8 | 9839 | 9842 | 1 | 881.1316 | 0.2 | 87 | 871 | 872 | 1 | 1002.2765 | 0.7 | 26.3 | 264 | 270 | 1 | 898.0338 | 0.2 | 412.3 | 4124 | 4125 | 1 | 883.5899 | 0.1 | 47.8 | 479 | 479
2 | 1021.8661 | 0.8 | 1160.7 | 11608 | 11615 | 2 | 903.2962 | 0.2 | 700.6 | 7007 | 7008 | 2 | 943.7928 | 0.3 | 30 | 301 | 303 | 2 | 905.3003 | 0.3 | 454.5 | 4546 | 4548 | 2 | 1052.9863 | 0.9 | 117.4 | 1175 | 1183
3 | 935.6391 | 0.5 | 1399.6 | 13997 | 14001 | 3 | 929.9114 | 0.4 | 833.2 | 8333 | 8336 | 3 | 1076.2237 | 0.8 | 86.6 | 867 | 874 | 3 | 946.2785 | 0.6 | 478.1 | 4782 | 4787 | 3 | 932.0197 | 0.5 | 125.1 | 1252 | 1256
4 | 938.6523 | 0.5 | 1614.5 | 16146 | 16150 | 4 | 915.6373 | 0.2 | 837 | 8371 | 8372 | 4 | 1008.8265 | 0.5 | 336.9 | 3370 | 3374 | 4 | 1194.3943 | 1.1 | 596 | 5961 | 5971 | 4 | 930.0368 | 0.6 | 317.3 | 3174 | 3179
5 | 1195.6241 | 1.1 | 1989.2 | 19893 | 19903 | 5 | 1037.4691 | 0.8 | 1319.5 | 13196 | 13203 | 5 | 889.2964 | 0.2 | 391.4 | 3915 | 3916 | 5 | 1301.4267 | 1.3 | 623.3 | 6234 | 6246 | 5 | 983.283 | 0.6 | 403.9 | 4040 | 4045
6 | 911.9455 | 0.3 | 2086.4 | 20865 | 20867 | 6 | 926.6359 | 0.5 | 1456.4 | 14565 | 14569 | 6 | 1019.0315 | 0.7 | 474.3 | 4744 | 4750 | 6 | 1082.8714 | 0.9 | 715.5 | 7156 | 7164 | 6 | 998.4504 | 0.6 | 416.6 | 4167 | 4172
|  | 3.6 |  |  |  | 7 | 1077.3878 | 0.9 | 1464.8 | 14649 | 14657 | 7 | 945.5275 | 0.5 | 500 | 5001 | 5005 | 7 | 907.8039 | 0.4 | 803.6 | 8037 | 8040 | 7 | 983.6231 | 0.7 | 457.9 | 4580 | 4586
ss | 14 | evalWin [s] | 2395.6 | rate [n/hr] | 58.6074 | 8 | 905.9382 | 0.3 | 1684.6 | 16847 | 16849 | 8 | 881.7156 | 0.1 | 588.9 | 5890 | 5890 | 8 | 914.3835 | 0.3 | 822.6 | 8227 | 8229 | 8 | 894.4068 | 0.3 | 474.3 | 4744 | 4746
count | peak [V] | length [s] | time [s] | ind0 | ind1 | 9 | 916.3535 | 0.4 | 1763.6 | 17637 | 17640 | 9 | 917.6313 | 0.4 | 696.9 | 6970 | 6973 | 9 | 1080.3858 | 0.9 | 845.1 | 8452 | 8460 | 9 | 1000.5557 | 0.8 | 591.3 | 5914 | 5921
1 | 921.9604 | 0.4 | 57.7 | 578 | 581 | 10 | 940.4566 | 0.5 | 1802.2 | 18023 | 18027 | 10 | 1103.9456 | 0.9 | 833.1 | 8332 | 8340 | 10 | 902.3753 | 0.2 | 848.7 | 8488 | 8489 |  |  | 5.1
2 | 1085.0244 | 0.9 | 302.3 | 3024 | 3032 | 11 | 1109.765 | 0.9 | 2031.5 | 20316 | 20324 | 11 | 968.4014 | 0.6 | 846.3 | 8464 | 8469 | 11 | 1059.0877 | 0.8 | 1009 | 10091 | 10098 | ss | 24 | evalWin [s] | 2797.2 | rate [n/hr] | 33.462
3 | 1047.9954 | 0.8 | 368.3 | 3684 | 3691 | 12 | 916.5515 | 0.4 | 2115 | 21151 | 21154 | 12 | 1021.4663 | 0.8 | 943 | 9431 | 9438 | 12 | 954.8499 | 0.3 | 1012.9 | 10130 | 10132 | count | peak [V] | length [s] | time [s] | ind0 | ind1
4 | 894.3414 | 0.2 | 374.2 | 3743 | 3744 |  |  | 5.7 |  |  |  | 13 | 908.8041 | 0.3 | 1296.5 | 12966 | 12968 | 13 | 1020.2886 | 0.7 | 1076.7 | 10768 | 10774 | 1 | 931.4373 | 0.5 | 378.9 | 3790 | 3794
5 | 1063.0603 | 0.8 | 742.9 | 7430 | 7437 | ss | 16 | evalWin [s] | 2398.5 | rate [n/hr] | 3.0019 | 14 | 1076.1547 | 0.9 | 1300.5 | 13006 | 13014 | 14 | 957.1305 | 0.6 | 1511.3 | 15114 | 15119 | 2 | 913.4216 | 0.4 | 480.6 | 4807 | 4810
6 | 912.5863 | 0.4 | 746.3 | 7464 | 7467 | count | peak [V] | length [s] | time [s] | ind0 | ind1 | 15 | 1169.0522 | 1.2 | 1320.4 | 13205 | 13216 | 15 | 1304.7603 | 1.2 | 1519.1 | 15192 | 15203 | 3 | 968.1474 | 0.6 | 542.4 | 5425 | 5430
7 | 1035.3166 | 0.7 | 762 | 7621 | 7627 | 1 | 917.6977 | 0.4 | 625.9 | 6260 | 6263 | 16 | 949.0522 | 0.6 | 1340 | 13401 | 13406 | 16 | 918.1883 | 0.6 | 1585.5 | 15856 | 15861 | 4 | 1151.4463 | 1 | 569.9 | 5700 | 5709
8 | 886.0244 | 0.2 | 766.7 | 7668 | 7669 | 2 | 892.9507 | 0.2 | 1079.2 | 10793 | 10794 | 17 | 1084.4852 | 1 | 1455.8 | 14559 | 14568 | 17 | 963.2973 | 0.5 | 1593 | 15931 | 15935 | 5 | 1033.7186 | 0.7 | 630.9 | 6310 | 6316
9 | 1128.2251 | 1 | 770.6 | 7707 | 7716 |  |  | 0.6 |  |  |  | 18 | 941.3209 | 0.4 | 1475.7 | 14758 | 14761 | 18 | 905.2273 | 0.2 | 1597.2 | 15973 | 15974 | 6 | 885.9621 | 0.1 | 634.9 | 6350 | 6350
10 | 883.5264 | 0.1 | 782.4 | 7825 | 7825 | [6 empty] | 19 | 902.7184 | 0.3 | 1505 | 15051 | 15053 | 19 | 1006.6107 | 0.7 | 1609.4 | 16095 | 16101 | 7 | 1131.6946 | 0.9 | 739.6 | 7397 | 7405
11 | 989.3012 | 0.7 | 802 | 8021 | 8027 | [6 empty] | 20 | 961.2755 | 0.6 | 1684.5 | 16846 | 16851 | 20 | 957.3485 | 0.5 | 1766.7 | 17668 | 17672 | 8 | 920.2491 | 0.5 | 847.4 | 8475 | 8479
12 | 915.489 | 0.3 | 897.2 | 8973 | 8975 | [6 empty] | 21 | 1080.5639 | 0.9 | 1763.6 | 17637 | 17645 | 21 | 980.515 | 0.5 | 1769.8 | 17699 | 17703 | 9 | 913.0084 | 0.4 | 930.7 | 9308 | 9311
13 | 1044.6623 | 0.9 | 983.4 | 9835 | 9843 | [6 empty] | 22 | 1211.8086 | 1 | 1802 | 18021 | 18030 | 22 | 934.3158 | 0.5 | 1792.9 | 17930 | 17934 | 10 | 1247.7124 | 1.2 | 999.1 | 9992 | 10003
14 | 1042.3035 | 0.8 | 1015.9 | 10160 | 10167 | [6 empty] | 23 | 952.1795 | 0.6 | 1923.4 | 19235 | 19240 | 23 | 970.8547 | 0.7 | 2029.7 | 20298 | 20304 | 11 | 1164.9968 | 1.1 | 1189.6 | 11897 | 11907
15 | 1053.3234 | 0.7 | 1020.1 | 10202 | 10208 | [6 empty] | 24 | 980.4979 | 0.7 | 1949.2 | 19493 | 19499 | 24 | 888.677 | 0.2 | 2037.7 | 20378 | 20379 | 12 | 911.6957 | 0.4 | 1225.9 | 12260 | 12263
16 | 951.4702 | 0.6 | 1022.9 | 10230 | 10235 | [6 empty] | 25 | 913.4315 | 0.4 | 2027.7 | 20278 | 20281 | 25 | 1013.5598 | 0.5 | 2041.4 | 20415 | 20419 | 13 | 1355.951 | 1.3 | 1268.2 | 12683 | 12695
17 | 1102.4627 | 0.9 | 1089.8 | 10899 | 10907 | [6 empty] | 26 | 1463.8372 | 1.5 | 2031.7 | 20318 | 20332 | 26 | 955.1676 | 0.6 | 2347.8 | 23479 | 23484 | 14 | 991.5031 | 0.7 | 1334.2 | 13343 | 13349
18 | 969.4194 | 0.5 | 1093.6 | 10937 | 10941 | [6 empty] | 27 | 899.1045 | 0.2 | 2038.1 | 20382 | 20383 |  |  | 15.3 |  |  |  | 15 | 902.0434 | 0.3 | 1711.7 | 17118 | 17120
19 | 1042.0843 | 0.8 | 1153.1 | 11532 | 11539 | [6 empty] | 28 | 917.387 | 0.3 | 2059.3 | 20594 | 20596 | ss | 22 | evalWin [s] | 3197.1 | rate [n/hr] | 2.252 | 16 | 976.2675 | 0.6 | 1753.4 | 17535 | 17540
20 | 1027.1765 | 0.7 | 1192.9 | 11930 | 11936 | [6 empty] | 29 | 1027.6754 | 0.8 | 2100.8 | 21009 | 21016 | count | peak [V] | length [s] | time [s] | ind0 | ind1 | 17 | 1136.0816 | 1.2 | 1820.6 | 18207 | 18218
21 | 990.8515 | 0.7 | 1268.6 | 12687 | 12693 | [8 empty] | 18.2 |  |  |  | 1 | 942.1397 | 0.5 | 852.3 | 8524 | 8528 | 18 | 1056.5409 | 0.9 | 1861.7 | 18618 | 18626
22 | 1066.2189 | 0.8 | 1299.1 | 12992 | 12999 | [6 empty] | ss | 19 | evalWin [s] | 2797.9 | rate [n/hr] | 3.86 | 2 | 915.1193 | 0.4 | 2737.7 | 27378 | 27381 | 19 | 960.9389 | 0.6 | 1871.4 | 18715 | 18720
23 | 1016.2238 | 0.7 | 1307.3 | 13074 | 13080 | [6 empty] | count | peak [V] | length [s] | time [s] | ind0 | ind1 |  |  | 0.9 |  |  |  | 20 | 1119.336 | 0.9 | 1889.4 | 18895 | 18903
24 | 1062.6614 | 0.9 | 1330.2 | 13303 | 13311 | [6 empty] | 1 | 909.5366 | 0.3 | 996.6 | 9967 | 9969 | [6 empty] | 21 | 1103.6903 | 0.9 | 2073.5 | 20736 | 20744
25 | 1134.6169 | 1.2 | 1399 | 13991 | 14002 | [6 empty] | 2 | 912.3788 | 0.4 | 1187.3 | 11874 | 11877 | [6 empty] | 22 | 1160.1623 | 0.9 | 2389.1 | 23892 | 23900
26 | 920.3667 | 0.4 | 1534.1 | 15342 | 15345 | [6 empty] | 3 | 884.9504 | 0.1 | 1265.9 | 12660 | 12660 | [6 empty] | 23 | 1042.5086 | 0.7 | 2392.9 | 23930 | 23936
27 | 1063.9335 | 0.8 | 1547.3 | 15474 | 15481 | [8 empty] | 0.8 | [9 empty] | 24 | 1046.7895 | 0.8 | 2546.5 | 25466 | 25473
28 | 1054.5768 | 0.8 | 1554.2 | 15543 | 15550 | [6 empty] | ss | 20 | evalWin [s] | 476.9 | rate [n/hr] | 60.39 | [6 empty] | 25 | 1085.9176 | 0.9 | 2715.6 | 27157 | 27165
29 | 1122.5011 | 1 | 1613.9 | 16140 | 16149 | [6 empty] | count | peak [V] | length [s] | time [s] | ind0 | ind1 | [6 empty] | 26 | 1057.3962 | 0.9 | 2750.7 | 27508 | 27516
30 | 1319.3239 | 1.2 | 1648 | 16481 | 16492 | [6 empty] | 1 | 936.2337 | 0.4 | 3 | 31 | 34 | [8 empty] | 19.4
31 | 916.0259 | 0.4 | 1709.8 | 17099 | 17102 | [6 empty] | 2 | 1289.6726 | 1.2 | 27.2 | 273 | 284
32 | 930.8116 | 0.8 | 1990.3 | 19904 | 19911 | [6 empty] | 3 | 1291.6285 | 1.1 | 87.4 | 875 | 885
33 | 994.8842 | 0.6 | 2001.9 | 20020 | 20025 | [6 empty] | 4 | 934.0623 | 0.3 | 99.8 | 999 | 1001
34 | 945.3911 | 0.4 | 2013.2 | 20133 | 20136 | [6 empty] | 5 | 960.6474 | 0.6 | 224.3 | 2244 | 2249
35 | 989.8645 | 0.7 | 2028.3 | 20284 | 20290 | [6 empty] | 6 | 1062.6024 | 0.8 | 277.5 | 2776 | 2783
36 | 1038.6639 | 0.7 | 2078.5 | 20786 | 20792 | [6 empty] | 7 | 1040.1589 | 0.9 | 392.6 | 3927 | 3935
37 | 1167.1053 | 1 | 2150.2 | 21503 | 21512 | [6 empty] | 8 | 1304.9813 | 1.2 | 475 | 4751 | 4762
38 | 1068.8226 | 0.8 | 2205.6 | 22057 | 22064 | [8 empty] | 6.5
39 | 888.8885 | 0.2 | 2325.8 | 23259 | 23260
26.5